County of Grundy

Date: 12/09/2022

**To: Public Boardroom Remodel and Renovation From: Grundy County Finance Department**

**RE: RFP : ADDENDUM NO. 1**

This Addendum shall consist of the following items:

1. Question:

What will be the dimension of the open conduit for AV ran through stage flooring under the newly built county board desk?

* **Answer**

**“County shall require pricing for two (2) two-inch (2”) empty conduit line to be ran along the electrical line, in order to ensure the AV wiring is able to be properly ran with ease throughout the County Board desk run.”**